| TEST LOG | | | |
| --- | --- | --- | --- |
| **Pool** |  | **Wk Beginning** |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Mon | Test | PHWBR Range | Pre-Open | 8am | 12pm | 4pm | 8pm |
|  | Free Chlorine (DPD1) | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine (DPD1+3) | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |
| Tues | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |
| Wed | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine: |  1.5 (mg/L) |  |  |  |  |  |
|  | pH: | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature: | NA |  |  |  |  |  |
| Thur | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |
| Fri | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |
| Sat | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |
| Sun | Free Chlorine | 1-10 (mg/L) |  |  |  |  |  |
|  | Total Chlorine | 1-10 (mg/l) |  |  |  |  |  |
|  | Combined Chlorine |  1.5 (mg/L) |  |  |  |  |  |
|  | pH | 7.2-7.8 |  |  |  |  |  |
|  | Tester Signature | NA |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Weekly Test Date |  | Acceptable Range | Results |  |  |  |  |
|  | Cyanurix Acid (if appl) | |  |  |  |  |  |  |
|  | Temperature | |  |  |  |  |  |  |
|  | Total Alkalinity: | |  |  |  |  |  |  |
|  | Calcium Hardness: | |  |  |  |  |  |  |
|  | Total Disolved Solids | |  |  |  |  |  |  |
|  | Saturation Index (SI) | |  |  |  |  |  |  |
|  | SI = pH + TF(temp) + AF (alk) +CF(calc) -12.01 | | | |  |  |  |  |
|  | Key Reference: Department of Health: Public Health and Wellbeing Act 2008 | | | | | | |  |
|  | Royal Life Saving Society Australia: GSPO: Technical Operations | | | | | | |  |
|  | Developed by LSV. Intended for use in chlorinated (not bromine) aquatic facilities. | | | | | | |  |